The Yavatmal Urban Co-operative Bank Ltd.

HEAD OFFICE – LIC Square, Garden Road, Yavatmal - 445001 (MH) India.

COMPUTER DEPARTMENT

REQUEST FOR PROPOSAL (RFP)

Selection of service provider for 10 KVA UPS (4 nos.) with Tubular batteries at Head Office

And 5 KVA OR 6 KVA UPS with Tubular batteries for Branches (As per list)

RFP NO: YUB07

RELEASE DATE: 25/08/2026

LAST DATE: 10/09/2026

Disclaimer:

The information contained in this RFP document, or any information provided subsequently to the bidder(s) whether verbally or in documentary form by or on behalf of the Bank is provided to the bidder(s) on the terms and conditions set out in this RFP document and all other terms and conditions subject to which such information is provided. This RFP is neither an agreement nor an offer and is only an invitation by the Bank to the interested parties for submission of bids. The purpose of this RFP is to provide the bidder(s) with information to assist in the formulation of their proposals. While an effort has been made to include all information and requirements of the Bank with respect to the solution requested, this RFP does not claim to include all the information each bidder may require. Each bidder should conduct its own investigation and analysis and should check the accuracy, reliability, and completeness of the information in this RFP and wherever necessary obtain independent advice. The Bank makes no representation or warranty and shall incur no liability under any law, statute, rules, or regulations as to the accuracy, reliability, or completeness of this RFP. The Bank may in its absolute discretion, but without being under any obligation to do so, update, amend, or supplement the information in this RFP.

Eligibility Criteria:

- The vendor should have a registered company under the Indian Companies.

- The vendor should have provided similar products/services to at least ten Banks in the last 2 financial years.

- The vendor should not be disqualified by the Nationalized Bank/Co-op. Bank/Foreign Bank/Pvt. Bank or any other Bank. The vendor should have authorization for the proposed product service.

- The vendor should not be out sourced further for given products and services.

- Vendor should give costing and technical details as per products/services details given.

- Submit Technical and financial proposal hard copy in seal pack up to 10/09/2026 on below mentioned address.

Chief Executive Officer

The Yavatmal Urban Co-operative Bank Ltd.

HEAD OFFICE, LIC Square, Garden Road, Yavatmal - 445001 (MH) India.

- 2% EMD of your quoted amount to be paid via offline mode or NEFT/RTGS on following account details given below

Account Name     : The Yavatmal Urban Co-operative Bank Ltd.

Account Number: 00542000001

IFSC Code              : IBKL0041Y01

Payment Terms and Conditions:

  - GST will be paid extra as applicable.

  - TDS will be deducted as applicable.

  - Payment will be done after supply and installation.

Negotiation:

The vendor has to submit a negotiable and appropriate cost.

Delivery Timelines:

The bank is under no obligation to accept the lowest offer received in response to this tender and reserves the right to split the order or reject any or all the offers including incomplete offers without assigning any reason whatsoever.

Pre-requisite:

The vendor has to provide prerequisites for the installation and implementation of product services.

Technical Inspection and Performance Evaluation:

The Yavatmal Urban Co-operative Bank Ltd. Yavatmal reserves its right to carry out a technical inspection and performance evaluation (bench-marking) of all the services quoted. The bank may ask for proof of concept (POC) as a part the of evaluation process during bid processing.

Delivery Timelines:

- Delivery of products within seven days of the PO date.

- Installation/implementation within Ten days of the product/license delivery.

- Goods supply and Installation at various locations is Vendor’s responsibility.

BRIEF REQUIREMENT:

Technical

Specification Tender Document

1. Scope of Work

The bidder shall supply and install UPS of 10 KVA capacity (with Tubular Batteries) at Our Head Office and 5 KVA or 6 KVA UPS (with Tubular batteries) at Branches. (As per List given below)

Technical Details:

| 1a | True Online UPS - 5 KVA/ 144 VDC with IGBT Double conversion technology & inbuilt isolation Transformer of Full Rated Capacity of UPS, Battery Charger Should be Capable of Charging Bank of 150Ah Tubular Batteries. (Single Phase I/P & Single-Phase O/P) | 1b | Tubular Batteries 12V- 150Ah, Set of 12 (Twelve) Batteries. Battery Warranty – 3 Years For 5 KVA/144 VDC On-Line UPS System |
| --- | --- | --- | --- |
| 2a | True Online UPS - 6 KVA/ 144 VDC with IGBT Double conversion technology & inbuilt isolation Transformer of Full Rated Capacity of UPS, Battery Charger Should be Capable of Charging Bank of 150Ah Tubular Batteries. (Single Phase I/P & Single Phase O/P) | 2b | Tubular Batteries 12V- 150Ah, Set of 12 (Twelve) Batteries. Battery Warranty – 3 Years For 6 KVA/144 VDC On-Line UPS System |
| 3a | True Online UPS - 10 KVA/ 180 VDC with IGBT Double conversion technology & inbuilt isolation Transformer of Full Rated Capacity of UPS, Battery Charger Should be Capable of Charging Bank of 150Ah Tubular Batteries (Single Phase I/P & Single-Phase O/P) | 3b | Tubular Batteries 12V- 150Ah, Set of 15 (Fifteen) Batteries. Battery Warranty – 3 Years For 10 KVA/180 VDC On-Line UPS System |

FORMAT FOR SUBMISSION OF FINANCIAL PROPOSAL

| Sr. No. | Item Description | Qty | Per Unit Cost | GST | Per Unit Total Cost | Total Unit Cost |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 5 KVA Online UPS with Batteries. Supply, Installation Warranty & Support for 3 Year. (Requirement as per attached sheet) | 19 |  |  |  |  |
| 2 | 6 KVA Online UPS with Batteries. Supply, Installation Warranty & Support for 3 Year. (Requirement as per attached sheet) | 19 |  |  |  |  |
| 3 | 10 KVA 4 Online UPS for Head Office with Batteries required. Supply, Installation Warranty & Support for 3 Year. | 4 |  |  |  |  |

FORMAT FOR SUBMISSION OF TECHNICAL PROPOSAL

| Sr No. |  | Particulars | Remarks |
| --- | --- | --- | --- |
| 1 | Name of the Company/Firm |  |  |
| 2 | Constitution |  |  |
| 4 | Full address for communication |  |  |
| 5 | Telephone &Fax No. |  |  |
| 6 | Name &Address of the Directors/Partners/ CEO |  |  |
| 7 | Contact Person (s) with Telephone/Mobile No. |  |  |
| 8 | E-mail Address |  |  |
| 9 | No. of Technical qualified persons implementing products/services |  |  |
| 10 | Name and contact of banks where such product/services provided directly by vendor or by OEM. |  | 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. |
| 11 | Whether the company/firm or its directors/partners disqualified by Nationalized Bank/Co-op Bank/Foreign Bank/Pvt. Bank or any other Bank |  |  |

Attach Product/services specifications.

- Details of Product/Services Offered

- Authorization Letter/MAF/Partner License details from the OEM

Forwarding Letter

(To be submitted on Vendor’s letter head)

To

The CEO,

The Yavatmal Urban Co-op Bank ltd.

LIC Square, Garden Road, Yavatmal - 445001 (MH) India.

Dear Sir/Madam,

Sub: Proposal for supplying products/services as per tender document.

This is in reference to your tender for supplying products, services. Having examined the tender document, the receipt of which is hereby duly acknowledged, we the undersigned, hereby submit our proposal along with necessary supporting documents as desired by Bank.

Further, we agree to abide by all the terms and conditions as mentioned in the tender document. We have also noted that bank reserves the right to consider/ reject any or all applications without assigning any reason thereof.

Authorized Signatory Name:

Designation: Organization Seal

Date:

Place:

Details of the Vendor

(To be submitted on company letterhead)

To,

The CEO,

The Yavatmal Urban Co-op Bank Ltd

LIC Square, Garden Road, Yavatmal - 445001 (MH) India.

Details filled in this form must be accompanied by sufficient documentary evidence, in order to verify the correctness of the information.

| SR. |  |  |
| --- | --- | --- |
| NO | DETAILS OF THE COMPANY | RESPONSE |
| A | Name of Company |  |
| B | Company Head Office and registered office address |  |
| C | Telephone and Fax numbers |  |
| D | Details of incorporation. (Please enclose Company Registration Certificate.) |  |
| E | Ownership structure (e.g. Proprietorship, Partnership, Pvt. / Pub. Ltd. Company) |  |
| F | Company GST registration number. (GST Registration Certificate) (Please enclose supporting document.) |  |
| G | Company PAN & TIN number. (Please enclose supporting document.) |  |

Notes-

- All the commercial value quoted is in Indian Rupees.

- Bank will deduct applicable TDS, if any, as per the law of the land.

- Further, we confirm that we will abide by all the terms and conditions mentioned in the Tender document.

- We hereby undertaking to the bank to comply with the secrecy provision pursuant to provision of Banking Regulation Act, 1949 and other applicable laws.

Place:

Date:

Signature:

Name:

Seal:

(Seal and Signature of the authorized signature)

| Sr. No. | BR. NAME | BRANCH ADDRESS | PIN CODE | QUANTITY | UPS TYPE |
| --- | --- | --- | --- | --- | --- |
| 1 | Arni | Jaiswal Complex, Near Bus Stand, Arni, Dist. Yavatmal | 445 103 | 1 | 5 or 6 KVA |
| 2 | Wani | Bank Of Maharashtra Chowk, Hyderabad Road, Wani Dist. Yavatmal. | 445 304 | 1 | 5 or 6 KVA |
| 3 | Digras | Modani Complex, Near Pooja Guest House, Digras., Tq. Digras, Dist. Yavatmal | 445 203 | 1 | 5 or 6 KVA |
| 4 | Ner | Pohekar Building, Near Bus Stand, Ner Dist. Yavatmal. | 445 102 | 1 | 5 or 6 KVA |
| 5 | Dhanaki | Bus Station Road, Dhanki Tq. Umarkhed Dist. Yavatmal. | 445 207 | 1 | 5 or 6 KVA |
| 6 | Pandharkawada | Near Bank of Maharashtra, Main Road, Pandharkawada Dist. Yavatmal. | 445 302 | 1 | 5 or 6 KVA |
| 7 | Ralegaon | Main Road, Ralegaon Dist. Yavatmal. | 445 402 | 1 | 5 or 6 KVA |
| 8 | Kalamb | Chitamani Mandir Road, Kalamb Dist. Yavatmal. | 445 401 | 1 | 5 or 6 KVA |
| 9 | Wadgaon | Arni Road, Wadgaon Road Yavatmal | 445 001 | 1 | 5 or 6 KVA |
| 10 | Chandrapur | Nagar Parishad Building, Gandhi Chowk, Chandrapur | 442 402 | 1 | 5 or 6 KVA |
| 11 | Bhadrawati | Shinde Building, Main Road, Bhadrawati. Dist. Chandrapur | 442 902 | 1 | 5 or 6 KVA |
| 12 | Akola | Alasi Sankul, Opp. Open Theater, Gandhi Road, Akola. | 444 001 | 1 | 5 or 6 KVA |
| 13 | Nanded | Kala's Building, Opp. Palekar Petrol Pump, V.I.P. Road, Visava Nagar, Nanded | 431 601 | 2 | 5 or 6 KVA |
| 14 | Gondia | Near Halwai Hotel Association, Shree Talkies Road, Gondia | 431 601 | 1 | 5 or 6 KVA |
| 15 | Chh.Sambhaji Nagar | M.G. Chikhalikar, Cts 15308/15, Plot No.68, Sarang Co-Op. Society, G M Mandir Chowk, Garkheda, Chh.Sambhaji Nagar | 431 001 | 1 | 5 or 6 KVA |
| 16 | Kothrud, Pune | Kumbare Hights, Vijay Commercial Complex, Rajlaxmi Hall Building, New D.P. Road, Kothrud Pune Dist. Pune | 411 038 | 1 | 5 or 6 KVA |
| 17 | Hinganghat | Sharma Building, Old Post Office Road, Nehru Ward, Karanja Chowk, Hinganghat, Dist. Wardha | 442 301 | 2 | 5 or 6 KVA |
| 18 | Head Office | Lic Chowk, Garden Road, Yavatmal | 445 001 | 4 | 10 KVA |